## Slide 1
Analysis and Visualisation of Gene Expression Data by Dr Jacob Beal

## Slide 2
Speaker - iGEM
Anastasios Galanis After iGEM
Jacob Beal
Raytheon BBN Technologies
iGEM Engineering Committee

## Slide 3
Content:
Relating data to biology
Graphical Presentation
Data Analysis and Visualization

## Slide 4
RELATING DATA TO BIOLOGY

## Slide 5: Avoid Relative and Arbitrary Units
[Roederer, ‘02; Wang et al., ‘08; NIST/ISAC, ‘12; Beal et al., ‘12; Castillo-Hair et al., ’16; Beal et al., ‘18, Beal et al.,’20, Beal et al., ‘21]
Example: calibration of fluorescence & OD measurements
Flow Cytometry: NIST-certified beads, WT, color controls
Plate reader: fluorescein, Texas Red, cell-like microspheres
Result: directly comparable MEFL units

## Slide 6: Think Carefully About Relating Measurement to Biology
Example: estimating cell and molecule counts from plate reader data
Raw readings include background, even after calibration
To estimates counts, subtract the background:

## Slide 7: Use Geometric Statistics for Gene Expression
Why geometric stats?
Complex catalytic reactions  multiply many rates:
Rexpress = R1R2R3R4R5…
Central Limit Theorem  converge to log-normal!
Gamma distribution bursting also implies geometric stats
[Davidsohn et al., 2015], [Beal, 2017]

## Slide 8: Take Advantage of Process Controls
Experimental Controls:
Is my hypothesis true?
One control per factor under study
Best when new data
Control very close to experiment conditions
Process Controls:
Should I trust the data?
One control per assumption in study
Best when known value
Control should have minimal relation to experiment conditions

## Slide 9: Example of Experimental vs. Process Controls

## Slide 10: Sanity Check Your Control Values
Compare to calibrants to ensure instrument linear range
Compare positive to max number of proteins per cell:
  E. coli: 2e6
  Yeast: 6e7
  Human: 2e9
Negative control should be much smaller than positive
Problems with values indicate likely process failure
Example: E. coli negative <1e3, positive >1e4
http://book.bionumbers.org/how-many-proteins-are-in-a-cell/

## Slide 11
GRAPHICAL PRESENTATION

## Slide 12: Presenting data is just as important as collecting it!

## Slide 13: Core Principles of Data Presentation
Show the data
Focus the viewer on data comparison, not graphic design
Avoid distorting the data
Principled choice of axis bounds, scale
Don’t hide bad results
                Present many numbers densely and coherently
Show both broad overview and fine structure of data
Serve a clear purpose: e.g., description, exemplification, exploration
Integrate graphics with statistical and prose descriptions

## Slide 14: Applying the Core Principles
Focus on
comparison
Axis bound:
Floor of min
measurable
Axis bound:
Ceiling of max data
Bad results
visible
X-offset dots:
dense presentation
of fine structure
Bar + error:
broad overview
Meaningful units
Log scale for
gene expression
Purpose: data exploration
Example from iGEM 2018 interlab publication: [Beal et al.,’20]

## Slide 15: Tell stories in your captions
This is a horse.
What about it?

## Slide 16: Tell stories in your captions
Fluorescence per cell after 6 hours of growth.

## Slide 17: Tell stories in your captions
Fluorescence per cell after 6 hours of growth, comparing calibrated flow cytometry to estimates using cell count from CFU and microsphere dilution protocols (LUDOX/water is not shown as the units it produces are not comparable). Microsphere dilution produces values extremely close to the ground truth provided by calibrated flow cytometry, whereas the CFU protocol produces values more than an order of magnitude different, suggesting that CFU calibration greatly underestimates the number of cells in the sample. Bars show geometric mean and standard deviation. Team count per condition provided in Supplementary Data 3 Teams Per Condition.
Purpose
Key results
Interpretation
Anticipating questions

## Slide 18
QUESTIONS?

## Slide 19
THANK YOU!